EEB “damage control” proposals regarding

provisions introduced by COM significantly weakening the BAT-C and in breach of the consensual changes accepted by the October 2016 Forum

Proposed amendment 1:

Page 1, second bullet (new text).

A new BAT-C exclusion from the scope for all LLD and CHP plants has been arbitrarily introduced by COM despite opposition of the EEB and others at the Forum meeting. It has been agreed to provide this sort of text through the FAQ – NOT in the BAT-C text-.  Implementation of Chapter III derogations from minimal binding limits (‘EU Safety net’) versus compliance with BAT-C requirements is clearly an implementation issue. Further the addition is a re-interpretation of the IED on how Chapter II provisions (the BAT-C technical emission levels achieved with BAT) co-exist with the Chapter III EU-safety net derogations (politically negotiated Emission Limit Values) that permit writers may not exceed.  Normally the COM would refrain from including this in BAT-C, please act accordingly.

Option 1 (consistent with Forum decision): Remove the whole text from Draft C and provide similar wording in the FAQ section of the COM website, if necessary to reassure certain Member States http://ec.europa.eu/environment/industry/stationary/ied/faq.htm#ch3

Option 2 (damage control):

combustion plants combusting exclusively gaseous or liquid fuels benefitting from the limited life time or district heating derogation as set out in Articles 33 and 35 of Directive 2010/75/EU, during the remaining operational life, for what concerns the BAT-AELs for the pollutants covered by the derogation, as well as for other pollutants whose emissions would have been reduced by the technical measures obviated by the derogation, provided the combustion plant making use of Article 33 stops operating. For district heating plants that made use of Article 35 of Directive 2010/75/EU and that operate after 1st January 2023, the relevant BAT-Conclusions set for “new plants” shall apply. ;

Rationale:

This arbitrary exclusion has far reaching consequences in terms of air pollution impacts in the EU.

First it should be made very clear that those operators that made use of Article 33 will effectively stop operating that plant once the 17.500 hours used up /2024 deadline has passed. The current text is not entirely clear on this. We therefore propose more consistency with the IED.

Secondly, one needs to be aware about the impact the exclusion has for the Art 35 CHP plants in particular, which are in urban areas where air quality is even more important. From our information there are about 33.6 GWth of CHP plants that submitted this derogation, of which 11GWth are in Poland, 8.6GWth in Germany and 3.3GWth in Czech Republic, 2.3GWth in Finland, 2.2GWth in Sweden and 2GWth in Denmark .

First it shall be clear that these provisions shall not be eligible for the worst polluting LCPs  i.e. firering coal and lignite. In accordance to our assessment under the “Lifting the Dark Cloud report” , see Annex II) 19 coal/lignite fired power plants would be covered under the CHP exemption.

With our amendment 11 coal/lignite CHPs in CZ Republic and 6 coal/lignite CHPs in Poland (=17) would be affected. These alone are responsible for 364 premature deaths per year and 1,043 Billion € of operation due to air pollution. Considering that this provision allows an exemption for up to 2023 (2 years compared to BAT-C timescales) this arbitrary relaxation translates to 728 premature deaths with an external health cost to the Polish and Czech tax payers worth 2 Billion €.  We do not expect Poland and CZ Republic to vote in favour of the BREF anyway so there is no objective reason on why this extra gift should be made.

However there are many other plants in other Member States (BG, CZ, DE, DK, FIN, HR, HU, LIT, POL, RO, SE, SL –see above) which applied for this Art 35 CHP derogation. However these are almost exclusively liquid fuelled or gaseous fuelled CHP.

If a positive vote from those Member States depends on the exclusion –unless option 1 cannot satisfy this- the amended text would solve the problem with damage limitations. However we expect a positive vote from Czech Republic, Poland and Finland in return as a minimum (CZ Republic: 28-6 coal/lignite = 22CHP would still benefit from this, Poland: 89-17 coal/lignite = 72CHP would still benefit from this, Finland 34 (100%) CHP still benefit from this). If no positive vote from CZ, POL, FIN  is secured then we insist to apply option 1.

Proposed amendment 2: (not part of Forum discussion but reflecting change of situation in certain Member States)

Delete footnote 5 in Page 29, table 10.3 BAT-associated emission levels (BAT-AELs) for NOX emissions to air from the combustion of coal and/or lignite

“(5) The higher end of the range is 175 mg/Nm3 for FBC boilers put into operation no later than 7 January 2014 and for lignite-fired PC boilers.”

Rationale:  First: The 175mg/Nm³ annual averaged level has been kept because at that time (Final TWG in May 2015) France and Italy saw concerns with existing FBC boilers that they considered to be impacted after 2021, when the new LCP BAT-C would come into force.

In the meantime a lot has changed within the industry sector in those countries.

Italy: on 2010, there were 2 CFB units in operation: Enel Produzione S.p.A. - Impianto termoelettrico di Portoscuso – SU1 (600MWth) and SU2 (800MWth). 2013 and 2014 LCP-D data shows that the first unit (IT0182 – Camino 2) has operated under the peak load (1208 hours). NGO sources state that it has even stopped operation since 2015. So this plant is no longer affected by the BAT-C in any case.

The remaining unit SU2 (which is reference plant #224) is not affected by a 150mg/Nm³ level for NOx. First it already managed to achieve an average NOx level of 166mg/Nm3 in 2010 with a permit ELV set at 200mg/Nm³. It is indicated that SNCR option is available, but probably not used.

To sum up, only one Italian (800MWth) plant may be concerned by the (FBC) 175mg/Nm³ level in 2021. We invite Italy to reconsider if is appropriate to exert considerable weakening of the NOx level for all the EU lignite and FBC coal plants because of that plant, also in light of the imported pollution to Italy.

France: We assume that France opposed the 150mg/Nm³ level (lignite and Coal FBC) because at the time of the Final TWG meeting, EDF owned some FBC plants in Poland and had one ref plant operational then, which is no longer the case since February 2015. The remaining FBC plant in France EON - Centrale Emile HUCHET - Unit4 - Saint Avold (ref plant# 99) already achieved averaged NOx level of 145mg/Nm³ back in 2010 (with a permit ELV of 400). However this plant has already closed on February 2015. Therefore there is no longer a reason for France to maintain the 175mg/Nm³ level for Fluidized bed combustion boilers .

Equal treatment with Biomass combustion: The upper range for NOx emissions for the same size category is set at 150mg/Nm3 (table 10.9). Hardcoal and lignite combustion should not be treated more favorable due to more laxist pollution standards, let alone for the climate change arguments.

Deletion of footnote 5 will considerably ease NEC-D compliance for all countries.

https://www.lesechos.fr/24/02/2015/LesEchos/21884-111-ECH_carling---e-on-ferme-la-tranche-4-de-la-centrale.htm and http://clients.rte-france.com/lang/fr/visiteurs/vie/prod/parc_reference.jsp (stating 1/01/2016 as closure date)